Appendix 2 – Examples of activities on the Technology Readiness Level (TRL)

| TRL | TECHNOLOGY AREAS/FIELDS |  |  |
| --- | --- | --- | --- |
|  | Medical/Device | Diagnostic Tools/Digital Health | Other |
| 1 | Discovery research with potential application addressing a medical need. |  |  |
| 2 | Scientific review and generation of research ideas, hypotheses, and experimental designs |  |  |
| 3 | Development of a functional prototype through to demonstration of proof-of-concept efficacy for device in vitro and in vivo | Biomarker quantification studies through to establishing specificity of biomarkers using clinical samples | Development of a functional prototype through to demonstration of proof of-concept in vitro and in vivo or in a test set |
| 4 | Efficacy and safety of candidate devices demonstrated in defined laboratory or animal models (non GLP) | Retrospective and prospective biomarker qualification studies complete, or analytical parameters acquired and optimized | Proof-of-concept demonstrated to pre regulatory standard |
| 5 | Safety and toxicity established to GLP standards (in animal models) and manufacturing process established at the required scale | Assay suited to target clinical setting has been developed and manufacturing process established at the required scale | Regulatory Characterization of Product and Initiation of Process Development or Manufacturing Process Prior to Clinical Trials |
| 6 | Phase I or equivalent studies in humans to assess device safety [to completion] | Usability of tools has been established with end user groups in situ or assay parameters have been established with clinical samples [to completion] | Clinical Refinement: Phase I or equivalent studies in humans to assess device safety [to completion] |
| 7 | Phase II or equivalent studies to assess efficacy and performance [to completion] | Small-scale or single site evaluation of whether the application of the diagnostic improves clinical outcomes complete [to completion] | Early Clinical Assessment: Phase II or equivalent studies to assess efficacy and performance [to completion] |
| 8 | Phase III or equivalent studies and Market Authorization and CE marking complete | Multi-site evaluation of whether the tool improves outcomes complete. Market Authorization / CE marking achieved | Late Clinical Evaluation/Market Authorization |